LOW FREQUENCY OPERATION REPORT

# Executive Summary & General Notes:

[Text Box] option:

Frequency Plot

| Violation MESSAGES ISSUED 17 Alert • 9 Emergency • 2 Extreme Emergency 4 Non-Compliance • 10 Warning | MAJOR OVER-DRAWAL Bihar: 776 MW ¦ DVC: 386 MW ¦ West Bengal: 192 MW |
| --- | --- |

# Frequency Analysis:

based on the entire 24 hours of the  month

| Indicator | Sep-26 |
| --- | --- |
| Lowest frequency | 49.413 Hz at 18:39 hrs on 15.09.2026 |
| Time below 49.90 Hz | 6,791 minutes (15.7%) on all 30 days |
| Time below 49.70 Hz | 1,058 minutes (2.4%) on 12 days |
| Time below 49.50 Hz | 1,058 minutes (2.4%) on 12 days |
| Within the IEGC band (49.90–50.05 Hz) | 68.7% of the time; above 50.05 Hz: 15.6% |
| UFR Stage-I operation reported | Text Box |
| Largest over-drawal below 49.90 Hz | Gujarat: 1,788 MW; Rajasthan: 1,256 MW; Tamil Nadu: 1,239 MW; Maharashtra: 1,037 MW |
| Largest over-drawal below 49.50 Hz | Gujarat: 1,788 MW; Rajasthan: 1,256 MW; Tamil Nadu: 1,239 MW; Maharashtra: 1,037 MW |
| ADMS Conditions met / operated (filed logic) | Text Box |

Frequency Duration Analysis (based on entire 24 hrs of the month):

Heat map of the frequency:

Annexure 1: Daily frequency time series with marking of Frequency <49.9 area. (Each day)

# State Performance Details:

States Over Drawl Analysis:
Plot (Side bar chart) like below image

Logic: Black line for Max OD & orange bar for OD during lowest frequency.

State OD for the month

Reporting window: Time period of Slot 1   (for the entire month)

| Reporting Period Reporting Period | State Name State Name | Min. Freq. (Hz) & Time Min. Freq. (Hz) & Time | Freq <49.5 Hz |  |  |  | Freq <49.7 Hz |  |  |  | Freq <49.9 Hz |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | Duration: Min |  |  |  | Duration: — Min |  |  |  | Duration: — Min |  |  |  |
|  |  |  | OD/UI Duration (Min & %) | Avg. OD/UI (MW) | Max OD/UI (MW) | Violation Messages | OD/UI Duration (Min & %) | Avg. OD/UI (MW) | Max OD/UI (MW) | Violation Messages | OD/UI Duration (Min & %) | Avg. OD/UI (MW) | Max OD/UI (MW) | Violation Messages |
|  | Bihar | — | — | — | — | — | — | — | — | — | — | — | — | — |
|  | DVC | — | — | — | — | — | — | — | — | — | — | — | — | — |
|  | Jharkhand | — | — | — | — | — | — | — | — | — | — | — | — | — |
|  | Odisha | — | — | — | — | — | — | — | — | — | — | — | — | — |
|  | West Bengal | — | — | — | — | — | — | — | — | — | — | — | — | — |
|  | Sikkim | — | — | — | — | — | — | — | — | — | — | — | — | — |

Annexure 2.1 (Daily Details of state performance)

Reporting window: Time period of Slot 2 (entire month)

| Reporting Period Reporting Period | State Name State Name | Min. Freq. (Hz) & Time Min. Freq. (Hz) & Time | Freq <49.5 Hz |  |  |  | Freq <49.7 Hz |  |  |  | Freq <49.9 Hz |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | Duration: — Min |  |  |  | Duration: — Min |  |  |  | Duration: — Min |  |  |  |
|  |  |  | OD/UI Duration (Min & %) | Avg. OD/UI (MW) | Max OD/UI (MW) | Violation Messages | OD/UI Duration (Min & %) | Avg. OD/UI (MW) | Max OD/UI (MW) | Violation Messages | OD/UI Duration (Min & %) | Avg. OD/UI (MW) | Max OD/UI (MW) | Violation Messages |
|  | Bihar | — | — | — | — | — | — | — | — | — | — | — | — | — |
|  | DVC | — | — | — | — | — | — | — | — | — | — | — | — | — |
|  | Jharkhand | — | — | — | — | — | — | — | — | — | — | — | — | — |
|  | Odisha | — | — | — | — | — | — | — | — | — | — | — | — | — |
|  | West Bengal | — | — | — | — | — | — | — | — | — | — | — | — | — |
|  | Sikkim | — | — | — | — | — | — | — | — | — | — | — | — | — |

Annexure 2.2 (Daily Details of state performance)

Heat map of overdrawal by state (1. Based on Maximum OD)

Heat map of overdrawal by state (1. Based on % of duration of OD when freq <49.9)

Annexure 2.3 (Plot of each state OD & Messages already using old reports)

# 3. Central Sector Generator Performance Details

Scope: Only generators with under-injection are listed.  Reporting window: Slot1

| Reporting Period | Generator Name (Agency) | Min. Freq. (Hz) & Time | Freq <49.5 Hz |  |  |  | Freq <49.7 Hz |  |  |  | Freq <49.9 Hz |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | Duration: — Min |  |  |  | Duration: — Min |  |  |  | Duration: — Min |  |  |  |
| Reporting Period | Generator Name (Agency) | Min. Freq. (Hz) & Time | UI Duration (Min & %) | Avg. UI (MW) | Max UI (MW) | Violation Messages | UI Duration (Min & %) | Avg. UI (MW) | Max UI (MW) | Violation Messages | UI Duration (Min & %) | Avg. UI (MW) | Max UI (MW) | Violation Messages |
| 04-Oct-2026 | FSTPP III (ISGS) 500 MW | — | — | — | — | — | — | — | — | — | — | — | — | — |

Scope: Only generators with under-injection are listed.  Reporting window: Slot2

| Reporting Period | Generator Name (Agency) | Min. Freq. (Hz) & Time | Freq <49.5 Hz |  |  |  | Freq <49.7 Hz |  |  |  | Freq <49.9 Hz |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
|  |  |  | Duration: — Min |  |  |  | Duration: — Min |  |  |  | Duration: — Min |  |  |  |
| Reporting Period | Generator Name (Agency) | Min. Freq. (Hz) & Time | UI Duration (Min & %) | Avg. UI (MW) | Max UI (MW) | Violation Messages | UI Duration (Min & %) | Avg. UI (MW) | Max UI (MW) | Violation Messages | UI Duration (Min & %) | Avg. UI (MW) | Max UI (MW) | Violation Messages |
| 04-Oct-2026 | FSTPP III (ISGS) 500 MW | — | — | — | — | — | — | — | — | — | — | — | — | — |

# 4. Action & Chronology of Events:

Total no of messages issued:

| Entity | Total Message | Frequency Violation |  |  |  | Deviation violation |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
|  |  | Non Compliance | Extreme Emergency | Emergency | Alert | Warning | Emergency |
|  | State |  |  |  |  |  |  |
| Bihar | 7 | 3 | 3 | 1 | 0 | 0 |  |
| DVC | 8 | 2 | 4 | 1 | 1 | 0 |  |
| Odisha | 3 | 0 | 2 | 0 | 1 | 0 |  |
| Jharkhand | 3 | 1 | 2 | 0 | 0 | 0 |  |
| West Bengal | 10 | 4 | 3 | 2 | 1 | 0 |  |
|  | Generators |  |  |  |  |  |  |
| DARLIPALI (NTPC) | 2 | 0 | 2 | 0 | 0 | 0 |  |
| BARH | 2 | 0 | 1 | 1 | 0 | 0 |  |
| IBEUL | 1 | 0 | 0 | 1 | 0 | 0 |  |
| JITPL | 2 | 0 | 0 | 1 | 1 | 0 |  |
| NABINAGAR(NPGC) | 2 | 0 | 0 | 1 | 1 | 0 |  |
| NKSTPP | 1 | 0 | 0 | 1 | 0 | 0 |  |
| TSTPP | 1 | 0 | 1 | 0 | 0 | 0 |  |

Event chronology table (include all messages & Physical regulatory option) – Each slot of day separate table in  Annexure 4

# 5. Action of Deference Mechanism (ADMS & UFR):

Data will be fetched from CRMS (Future provision)